## Matrix
LEV INDUSTRY FORUM - COMPETENCY FC, RFFC & MSC WORKING GROUP Issue 007
Matrix of LEV knowledge guidance for key roles:
Last modified 10 March 2021
Roles
Guidance | Topic | Subject | Employer-related personnel |  |  |  | LEV FC, RFFC, & MSC Specialist and contractor personnel | [8 empty] | Awareness Courses MSC | [5 empty] | Standards | [7 empty] | Guidance | [5 empty] | Qualifications
|  |  | The Employer/Duty Holder (System Owner) | Employer’s plant supervisor | Process operators | Employer-appointed Responsible Person | Organisation Technical Engineering Manager | Project Manager (person responsible for delivery of the project) | System Designer / Technical Sales | Supplier(s) and Manufacturer(s) | Installation team leader | End User Trainer | Commissioning Engineer | Maintenance Engineer | Test Engineer | CLEAPSS fume cupboard & recirculatory filtration cabinets (for Education facilities). | Air Tech International. Biosafety Cabinet Testing (EN 12469 and NSF 49) | Insitu test methods for high effiency filter system in industrial facilities. ISO 16170 | Air Tech International HEPA Filter Testing (ISO 14644-3 Photometry) | HSE Buxton - working practices and managing safety at Containment Level 3 | Containment Technology Services. KI Discus Potassium Iodide for measuring operator and aperture protection factors (Mark 3). | BS EN 14175 Fume cupboards | ASHRAE 110-2016 Methods of Testing Performance of Laboratory Fume hoods. | BS 7989 Specification for recirculatory filtration fume cupboards | BS EN 14470-:2004& BS EN 14470-2:2006 Fire Safety storage cabinets | PD CEN/TR 16589:2013 (prEN 16589:2020) Laboratory INSTALLATIONS - CAPTURE DEVICES WITH ARTICULATED EXTRACT ARM | BSEN 12469:2000 Biotechnology Performance criteria for microbiological safety cabinet | National Occupational Standards BSEHV05 Install /test industrial and commercial H&V ductwork systems | BS 5726 :2005 Microbiological safety cabinets. Information to be supplied by the purchaser to the vendor and to the installer, and siting and use of cabinets. Recommendations and guidance | CLEAPSS G9 Fume cupboards in Schools | CEN TS 17741 Laboratory Installations Ventilation systems in laboratories | BESA DW154 Specification for Plastics Ductwork | HSG258:Controlling airborne contaminants at work | BESA TR40: Guide to Good Practice: LEV | HSE - Management and operation of microbiological containment laboratories | BOHS P600 : Methods for testing the performance of LEV systems | BOHS P601 : Thorough examination and testing of LEV systems Inc. report submission. | BOHS P602: Basic design principles of LEV systems Inc. report submission | BOHS P604: Performance evaluation and management of LEV systems Inc. report submission | BOHS Certificate of Competence Control
|  | ESSENTIAL LEARNING | P | N, R, S, P & T |  | G, F, R & S | C, G, F, O, P, Q, R, S, T, V, W, X, Y | Q, R, S & U | G, O, P, Q, R, S, T, V, W, X | P & R | G, Q | N, R, V & X | B, C, D, F, R, N, V & X | G | B, C, D F, R & V | A | B | C | D | E | F | G | H | I | J | K | L | M | N | O | P | Q | R | S | T | U | V | W | X | Y
|  | DESIRABLE LEARNING | A | C, F, J, & V | F, R, T | I, J, K, L, N & O | A, B, D, H, I, J, K, L, M, N | G, I, N, O, P & T | H, I, J, K, L, N & Y | G, I, J K, L, N, O & T | P, R & U | B, C, D, F, R, N, V & X | G, H, I, J, L, O & Q | C, D, P, V & X | G, I, J, L, N, O & X
HSG258 | Preparation of specification & quotation | Properties of airborne contaminants: principles |  | 1 |  | 2 | 3 | 3 | 3 | 2 | 2 | 2 | 3 | 2 | 3 | E: ✔️; R: ✔️; S: ✔️; T: ✔️; V: *; W: *; X: **; Y: ✔️
|  | Recognition of hazards from process materials | 1 | 2 | 1 | 2 | 3 | 3 | 2 | 2 | 2 | 2 | 3 | 2 | 3 | A: ✔️; E: ✔️; O: ✔️; P: ✔️; R: ✔️; S: ✔️; T: ✔️; V: *; W: *; X: **; Y: ✔️
|  | Selection of a control benchmark |  | 2 | 1 | 2 | 3 | 3 | 2 | 2 | 2 | 2 | 3 | 2 | 3 | G: ✔️; H: ✔️; I: ✔️; J: ✔️; K: ✔️; L: ✔️; R: ✔️; S: ✔️; T: ✔️; W: *; X: **; Y: ✔️
|  | Identify hazardous substances generated by the process |  | 2 | 1 | 2 | 3 | 3 | 3 | 2 | 2 | 2 | 3 | 2 | 2 | A: ✔️; E: ✔️; O: ✔️; R: ✔️; S: ✔️; T: ✔️; W: *; X: **; Y: ✔️
|  | Understanding of the nature of sources of airborne contaminants in the process |  | 2 | 1 | 3 | 3 | 2 | 3 | 2 | 2 | 2 | 3 | 2 | 2 | bar: A; E; O; R to T; Y
|  | Understanding of process requirements | 1 | 2 | 1 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | bar: E; R to T; V to Y
|  | Ability to interpret duty holders risk assessment |  |  |  |  | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 2 | 3 | bar: A; E; O; T to Y
|  | Determine suitability of enclosure product type test performance |  |  |  |  | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 2 | 3 | bar: A; E; G to L; O to P; T to Y
|  | Understanding of statutory requirements for control |  |  |  |  | 3 | 3 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | bar: A; E; O; T to Y
|  | Understanding of Regulatory Requirements and Standards |  |  |  |  | 3 | 3 | 3 | 3 | 2 | 3 | 3 | 3 | 3 | bar: A; E; G to L; N to Q; T to Y
| Design of system | Selection of a control benchmark |  | 1 |  | 1 | 3 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | bar: E; G to L; O; R to T; W; Y
|  | Select appropriate full & partial enclosure design |  |  |  |  | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 2 | 2 | bar: E; G to L; N; P to Q; T to Y
|  | Selection of a control requirement |  | 2 |  | 2 | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 2 | 2 | bar: E; G to L; O to T; W; Y
|  | Components of LEV systems |  | 2 |  | 2 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 2 | A: ✔️; B: ✔️; E: ✔️; K: ✔️; O: ✔️; P: ✔️; R: ✔️; S: ✔️; T: ✔️; U: *; V: *; W: **; X: *; Y: ✔️
|  | Characteristics of different hood/ full & partial enclosure types |  | 2 |  | 2 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 2 | A: ✔️; E: ✔️; K: ✔️; O: ✔️; R: ✔️; S: ✔️; T: ✔️; U: *; V: *; W: **; X: *; Y: ✔️
|  | Principles of LEV hood design |  | 1 |  | 1 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 2 | R: ✔️; S: ✔️; U: *; V: *; W: **; X: *; Y: ✔️
|  | Selection of appropriate hoods for the application |  | 1 |  | 1 | 3 | 3 | 2 | 3 | 2 | 2 | 3 | 2 | 2 | bar: E; G to L; N; P; R to T; W; Y
|  | Principles of good ductwork design |  | 1 |  | 2 | 3 | 3 | 2 | 3 | 3 | 2 | 3 | 2 | 2 | O: ✔️; P: ✔️; Q: ✔️; R: ✔️; S: ✔️; U: *; V: *; W: **; X: *; Y: ✔️
|  | Requirements for system monitors & alarms |  | 1 |  | 1 | 3 | 3 | 3 | 3 | 3 | 2 | 3 | 2 | 2 | ✔️ |  |  |  | ✔️ |  | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ |  |  | ✔️ | ✔️ |  | ✔️ | ✔️ | ✔️ |  |  | ** | * | ✔️
|  | Characteristics of fans/air movers |  | 1 |  | 1 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | A: ✔️; O: ✔️; R: ✔️; S: ✔️; U: *; V: *; W: **; X: *; Y: ✔️
|  | Characteristics of air cleaners/filters |  | 1 |  | 1 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | A: ✔️; I: ✔️; L: ✔️; O: ✔️; R: ✔️; T: ✔️; U: *; V: *; W: **; X: *; Y: ✔️
|  | Air discharge and filtrate removal arrangements |  | 1 |  | 1 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | A: ✔️; E: ✔️; I: ✔️; L: ✔️; O: ✔️; P: ✔️; R: ✔️; T: ✔️; V: *; W: **; X: *; Y: ✔️
|  | DSEAR/ATEX Requirement inc explosion relief | 1 | 2 |  | 2 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | J: ✔️; O: ✔️; P: ✔️; R: ✔️; V: *; W: **; X: **; Y: ✔️
|  | Knowledge of Ionising Radiation Regulations 2017 | 3 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 1 | 2 | bar: G; U to Y
|  | Microbiological agents hazards groups Regulation 3 | 3 | 2 | 1 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 2 | 1 | 2 | bar: E; L; N; P; T to Y
|  | Recirculation of filtered air |  | 1 |  | 1 | 3 | 3 | 3 | 3 | 2 | 2 | 3 | 2 | 2 | ✔️ | ✔️ |  | ✔️ | ✔️ |  |  |  | ✔️ | ✔️ |  | ✔️ |  |  | ✔️ | ✔️ |  | ✔️ |  | ✔️ |  | * | ** | * | ✔️
|  | Provision of makeup air/ impact on general workroom ventilation |  | 1 |  | 2 | 3 | 3 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | ✔️ |  |  |  | ✔️ |  | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ |  | ✔️ | ✔️ | ✔️ |  | ✔️ |  | ✔️ |  | * | ** | * | ✔️
|  | Impact on workroom and external environment |  | 1 |  | 2 | 3 | 3 | 2 | 2 | 2 | 2 | 3 | 2 | 2 | ✔️ |  |  |  | ✔️ |  | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ |  | ✔️ | ✔️ | ✔️ |  | ✔️ |  | ✔️ |  | * | ** | * | ✔️
|  | Ergonomic and safety considerations |  | 1 |  | 1 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | bar: A; E; G to L; N to R; T; V; X to Y
|  | Arrangements for maintenance, cleaning, inspection and test |  | 1 |  | 1 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | bar: A to B; E; G to L; O to P; R; T; V; X to Y
| Installation & commissioning of system | Installation of hardware: mechanical |  | 1 |  | 1 | 3 | 3 | 3 | 2 | 3 | 2 | 2 | 2 | 2 | bar: G to M; P; U to Y
|  | Installation of hardware: electrical |  | 1 |  | 1 | 3 | 3 | 2 | 2 | 3 | 2 | 2 | 2 | 2 | bar: G to I; L; U to Y
|  | Balancing of system |  | 1 |  | 1 | 3 | 3 | 3 | 2 | 2 | 2 | 3 | 2 | 2 | P: ✔️; R: ✔️; V: *; W: *; X: **; Y: ✔️
|  | Technical performance testing (e.g. controls, alrams, timers etc) |  | 1 |  | 1 | 3 | 3 | 3 | 2 | 1 | 2 | 3 | 2 | 2 | ✔️ | ✔️ |  |  |  |  | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ |  |  | ✔️ | ✔️ | ✔️ | ✔️ |  |  |  | * | * | ** | ✔️
|  | Qualitative assessment of control |  | 1 |  | 1 | 3 | 3 | 2 | 2 | 1 | 2 | 3 | 2 | 2 | E: ✔️; G: ✔️; H: ✔️; I: ✔️; J: ✔️; K: ✔️; L: ✔️; R: ✔️; T: ✔️; U: *; V: *; W: *; X: **; Y: ✔️
|  | Quantitative assessment of control |  | 1 |  | 1 | 3 | 3 | 3 | 2 | 1 | 2 | 3 | 2 | 2 |  |  | ✔️ |  | ✔️ |  | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | [5 empty] | ✔️ |  | ✔️ | * | * | * | ** | ✔️
|  | Determine suitability of enclosure for intended application |  |  |  |  | 3 | 3 | 3 | 3 | 1 | 2 | 3 | 2 | 2 | bar: A; E; G to L; O; T to Y
|  | Commissioning report |  | 1 | 1 | 2 | 3 | 3 | 3 | 2 | 2 | 2 | 3 | 2 | 2 | bar: A; G to L; O to P; R; X to Y
|  | Provision of System manual |  | 1 | 1 | 2 | 3 | 3 | 2 | 3 | 2 | 2 | 2 | 2 | 2 | bar: A; E; G to L; O to P; R; T; X to Y
|  | Provision of System logbook |  | 1 | 1 | 2 | 3 | 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | bar: A; E; G to L; O to P; R; T; X to Y
|  | End User Training |  | 1 | 1 | 1 | 3 | 3 | 2 | 2 | 1 | 2 | 2 | 2 | 2 | bar: A; E; G to L; N to O; R; T; V; X to Y
| Thorough examination & test of system | Pre-work risk assessment |  | 1 |  | 2 | 3 | 3 | 3 | 2 | 1 | 2 | 3 | 2 | 2 | bar: A; D to E; G to P; R; T; V; X to Y
|  | Determine suitability of enclosure for intended application |  |  |  |  | 3 | 3 | 3 | 2 | 1 | 1 | 3 | 1 | 1 | bar: A; E; G to L; O to Q; T to Y
|  | Visual examination of system |  | 1 |  | 2 | 3 | 3 | 3 | 2 | 1 | 1 | 3 | 2 | 2 | bar: A to B; D to L; O to P; R; T; V; X to Y
|  | Technical performance measurement |  | 1 |  | 2 | 3 | 3 | 3 | 2 | 1 | 1 | 3 | 2 | 2 | ✔️ |  | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ |  |  | ✔️ |  | ✔️ | ✔️ |  | ✔️ | * | ** |  | ** | ✔️
|  | Assessment of control effectiveness |  | 1 |  | 2 | 3 | 3 | 3 | 2 | 1 | 1 | 3 | 2 | 2 | ✔️ |  |  | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ |  |  | ✔️ |  |  | ✔️ |  | ✔️ | * | ** |  | ** | ✔️
|  | Thorough examination and test report | 1 | 1 |  | 1 | 3 | 3 | 3 | 2 | 1 | 1 | 3 | 2 | 2 | bar: A; E; G to L; O; R; V; X to Y
| Maintenance | Completion of Logbook |  | 1 | 1 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 1 | 2 | 2 | bar: A; E; G to L; O; R; X to Y
|  | Routine inspections |  | 1 | 1 | 2 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 2 | 2 | ✔️ | ✔️ |  |  | ✔️ |  | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ | ✔️ |  |  | ✔️ |  |  | ✔️ |  | ✔️ |  | * |  | ** | ✔️
|  | Routine maintenance |  | 1 |  | 2 | 3 | 3 | 2 | 2 | 1 | 1 | 1 | 2 | 2 | R: ✔️; T: ✔️; V: *; X: **; Y: ✔️
|  | Repairs and remedial works |  | 1 |  | 1 | 3 | 3 | 2 | 2 | 2 | 1 | 1 | 2 | 2 | bar: P to R; X
| Changes & modifications | Modifications & changes |  | 1 |  | 2 | 3 | 3 | 3 | 3 | 2 | 1 | 2 | 2 | 2 | bar: P; R; X to Y
|  | Re-commissioning |  |  |  | 2 | 3 | 3 | 3 | 3 | 1 | 1 | 2 | 2 | 2 | bar: C; G to L; N; R; X to Y
|  | User training |  |  | 1 | 2 | 3 | 3 | 2 | 2 | 1 | 1 | 2 | 2 | 2 | bar: A; G to L; N to O; R; X to Y
| LEV Professional | Guide to typical relevant experience (in years) to include: • Portfolio • Interview • References
Notes:
1. Evidence of other experience e.g. UKAS, ILEVE, BOHS etc.
2. From January 2018, BOHS P601 is a pre-requisite to P604.
Key:
| 1: Basic knowledge | Foundational Knowledge of the facts, theories, principles, methods, skills, terminology and modes of reasoning that are essential to more advanced or independent learning. An understanding of the relevant theories and concepts. Able to apply to simple scenarios. Having undergone theoretical training and qualifications but with little practical experience. Understanding one's own limitations and when to take advice from some one more experienced.
| 2: Good knowledge of topic | Knowing the facts, theories, principles, methods, skills, terminology and modes of reasoning with a familiarity gained through a combination of some years of varied relevant experience that has built upon a foundation of training, qualifications and theoretical knowledge. Understanding one's own limitations and when to take advice from some one more experienced
| 3: Detailed knowledge of topic | The ability to apply and interpret the in-depth knowledge that you have and several years practical experience, to varied situations, and contexts to form a sound judgement, supported by the available information and in compliance with accepted best practice. Understanding one's own limitations and when to take advice from some one more experienced in specific topics.
Qualifications Key:
* Basic information on topic
** Detailed information on topic